### Substances That Could be in Your Water

To ensure that tap water is safe to drink, the U.S. EPA prescribes regulations limiting the amount of certain contaminants in water provided by the public water systems.  U.S. Food and Drug Administration establish limits for contaminates in bottled water. Drinking water, including bottle, may reasonably be expected to contain at least small amounts of some contaminants. The presence of these contaminants does not necessary indicate that the water poses a health risk.

- Where Does Our Water Come From?

In general, the sources of drinking water may include rivers, lakes, streams, ponds, reservoirs, springs, and/or wells.  MCAS Yuma’s main drinking water source is surface water, which comes from the Colorado River via a canal system. The water flows from the reservoir created by the Imperial Dam through the Gila Gravity Main Canal to the Water Treatment Facility at MCAS Yuma. MCAS Yuma also maintains an inter-tie with the City of Yuma. The inter-tie can be used as a “back-up” supply for both MCAS Yuma and the City of Yuma water systems, if needed.  The water system also operates a groundwater well that is used, as needed, to blend with the surface water to improve water quality.  MCAS Yuma owns the land around the well and restricts activities that could impact it.

### Source Water Assessment

In 2004, the Arizona Department of Environmental Quality completed a source water assessment for the surface water intake and the ground water well used by the MCAS Yuma water treatment plant.  The assessment reviewed the adjacent land uses that may pose a potential risk to the sources.  These risks include, but are not limited to, gas stations, landfills, dry cleaners, agriculture fields, wastewater treatment plants, and mining activities.  Once ADEQ identified the adjacent land uses, they were ranked as to their potential to affect the water source.  The result of the assessment was with high risk to source water. The complete Assessment is available for inspection at the Arizona Department of Environmental Quality, 1110 W. Washington, Phoenix, Arizona 85007, between the hours of 8:00 a.m. and 5:00 p.m.  Electronic copies are available from ADEQ at dml@azdeq.gov.  or by visiting the ADEQ’s Source Water Assessment and Protection Unit website at: www.azdeq.gov/environ/water/dw/swap.html

# Are There Contaminants in MCAS Water?

To ensure the continued safety of the drinking water, MCAS Yuma tests your water every day. Last year we performed thousands of water tests, including continuous testing for turbidity and chlorine residual, and bi-weekly test for microbial contaminants, which can show the presence of microorganisms that, could cause illness. We use state-certified laboratories to detect substances in the water in quantities as small as one part per billion (an amount roughly equal to one second in the life of a 32 year old person).

Microbial Contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations or wildlife;

Inorganic Contaminants, such as salts and metals, which can be naturally occurring or may result from storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming;

Pesticides and Herbicides may come from a variety of sources, such as agriculture, urban storm water runoff, and residential uses;

Organic Chemical Contaminates, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production may also come from gas stations, urban storm water runoff, and septic systems;

Radioactive contaminants, which can be naturally occurring or may be results of oil and gas production and mining activities.

More information about all contaminants of concern and their potential health effects can be obtained by calling EPA’s Safe Drinking Water Hotline (800) 429-4791 or by accessing the ADEQ regulations @: http://www.azsos.gov/public_services/Title_18/18-04.htm

### Important Health Information

Some people may be more vulnerable than the general population to contaminates in drinking water. Immunocompromised persons such as people with cancer under going chemotherapy, persons who have undergone organ transplants, people with HIV\AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about their drinking water source from their health care providers. EPA/CDC guidelines on appropriate means to reduce the risk of infection from Cryptosporidium and other microbial sources are available from the Safe Drinking Water Hotline (800-426-4791).

# Lead in drinking water

If present lead elevated levels of lead can cause serious health problems, especially for pregnant women and children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. MCAS Yuma is responsible for providing high-quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for thirty seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline, (800) 426-4791, or at www.epa.gov/safewater/lead.

2014 Annual Drinking Water Report

Este informe contiene informactión muy importante sobre el aqua usted bebe.  Tradúscalo ó hable con alguien que lo entienda bien.

### The Water We Drink

The water treatment professionals at MCAS Yuma are very proud to provide you with the 2014 Annual Drinking Water Quality Report. We want to keep you informed about the water and services we delivered to you over the past year. Our primary commitment is, and always well be, to provide you with a safe and dependable supply of tap water to our customers, 24 hours a day, seven days a week. This report is a summary of MCAS Yuma’s drinking water quality last year between January and December 2013. MCAS Yuma Drinking Water treatment System was shut down and began receiving our drinking water supply from the City of Yuma on August 08, 2013. Our system was down due to construction activities to complete up-grades to our system. The City of Yuma Drinking Water Report is available at, http://yumaaz.gov/Documents/COY-WaterQualityReport.pdf.

We staff the Utility Division with water treatment and distribution system operators who have passed certification with the Arizona Department of Environmental Quality.

The Utility Division employees remain vigilant in our commitment to you. We tested for more than 100 substances and conducted hundreds of measurements throughout the treatment and distribution systems, to ensure your safety.  Even with the best water treatment, it is not always possible to remove all contaminants. To ensure that tap water is safe to drink, the U.S. EPA prescribes regulations that limit the amount of certain substances in water provided by public systems.

This report is a snap shot of MCAS Yuma’s drinking water quality between January and December 2014. The MCAS Yuma’s Public Water System Identification Number is AZ0414082

# Understanding the Language of Water

| AL = Action Level - the concentration of a contaminant which, if exceeded, triggers treatment or other requirements. MCL = Maximum Contaminant Level - The “Maximum Allowed” is the highest level of a contaminant that is allowed in drinking water. MCLG = Maximum Contaminant Level Goal - The “Goal” is the level of a contaminant in drinking water below which there is no known or expected risk to health. MFL = Million fibers per liter. MRDL = Maximum Residual Disinfectant Level. MRDLG = Maximum Residual Disinfectant Level Goal. MREM = Millirems per year – a measure of radiation absorbed by the body. NA = Not Applicable, sampling was not completed by regulation or was not required. NTU = Nephelometric Turbidity Units, a measure of water clarity. PCi/L = Picocuries per liter - picocuries per liter is a measure of the radioactivity in water. PPM = Parts per million or Milligrams per liter (mg/L). ppm x 1000 = ppb. ppb x 1000 = ppt. ppt x 1000 = ppq. PPB = Parts per billion or Micrograms per liter (µg/L). PPT = Parts per trillion or Nanograms per liter. PPQ = Parts per quadrillion or Picograms per liter. TT = Treatment Technique - A treatment technique is a required process intended to reduce the level of a contaminant in drinking water. |
| --- |
| Contaminant (units) | Violation Y / N | Running Annual Average (RAA) or Highest Level Detected | Range Detected Absent (A) or Present (P) | MCL | MCLG | Sample Month Year | Likely Source of Contamination |
| Microbiological |  |  |  |  |  |  |  |
| Total Coliform Bacteria (System takes ≥ 40 monthly samples) 5% of monthly samples are positive; (System takes ≤ 40 monthly samples) 1 positive monthly sample | No | 0 | (A) |  |  | 7 per month | Naturally Present in Environment |
| Fecal coliform and E. Coli (TC Rule) | No |  |  | 0 | 0 |  | Human and animal fecal waste |
| Turbidity (NTU), surface water only | No | 0.27 | Range 0.27 to 0.09 | Filtration | n/a | Continuous | Soil Runoff |
| Disinfectants |  |  |  |  |  |  |  |
| Chlorine (ppm) | No |  |  | MRDL = 4 | MRDLG = 4 |  | Water additive used to control microbes |
| Disinfection By-Products |  |  |  |  |  |  |  |
| Haloacetic Acids (ppb) (HAA5) | No | 1.23 | 12 to 12 | 60 | n/a | Quarterly | Byproduct of drinking water disinfection |
| Total Trihalomethanes (ppb) (TTHM) | No | 71 | 71 to 66 | 80 | n/a | Quarterly | Byproduct of drinking water disinfection |
| Lead & Copper |  |  |  |  |  |  |  |
| Copper (ppm) | No | 90th Percentile = | 0.37 | AL = 1.3 | ALG = 1.3 | 08/2012 | Corrosion of household plumbing systems; erosion of natural deposits |
| Lead (ppb) | No | 90th Percentile = | 2.9 | AL = 15 | 0 | 08/2012 | Corrosion of household plumbing systems; erosion of natural deposits |
| Radionuclides |  |  |  |  |  |  |  |
| Alpha emitters (pCi/L) | No | <1.0 |  | 15 | 0 | 09/2009 | Erosion of natural deposits |
| Combined Radium 226 & 228 (pCi/L) | No | <1.4 |  | 5 | 0 | 09/2009 | Erosion of natural deposits |
| Uranium (pCi/L) | No | 16.7±1.7 |  | 30 | 0 | 09/2009 | Erosion of natural deposits |
| Inorganics |  |  |  |  |  |  |  |
| Arsenic (mg/L) | No | 0.0014 |  | 0.010 | 0 | 01/2014 | Erosion of natural deposits, runoff from orchards, runoff from glass & electronics production wastes |
| Nitrate (mg/L) | No | 0.80 |  | 10 | 10 | 01/2014 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| Barium (mg/L) | No | 0.092 |  | 0.05 | 0 | 01/2012 | Erosion of Natural deposits, Discharge from mines, Discharge from petroleum and metal refineries. |
| Synthetic Organic Contaminants |  |  |  |  |  |  |  |
| Benzo (a) pyrene (PAH) (ppt) | No | 36 |  | 200 | 0 | 02/2012 | Leaching from linings of water storage tanks and distribution lines |
| Benzo (a) pyrene (PAH) (ppt) | No | <0.00002 |  | 200 | 0 | 08/2013 | Leaching from linings of water storage tanks and distribution lines |
| Unregulated Contaminants |  |  |  |  |  |  |  |
| Sodium | No | 120 |  | No MCL |  | 01/2014 | Erosion of Natural deposits |

### What If I Have Questions About My Drinking Water?

If you have questions about this report or your drinking water supply please, contact the Base Services Department Water Plant Supervisor at (928) 269-2344. This report will not be provided by mail or other direct delivery method. Copies of the report will be available at the Water Treatment Plant or your housing Office.

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

- Monitoring Requirements Not Met for [System]

- Our water system violated drinking water standards over the past year. Even though these were not emergencies, as our customers, you have a right to know what happened and what we did to correct these situations.

- We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. Inadvertently, during August 2014 three routine samples were not collected, but all other samples were negative for the presents of total coliforms.

- What should I do?

- There is nothing you need to do at this time.

- The table below lists the contaminant we did not properly test for during the last year, how often we are supposed to sample for Total Coliform Bacteria and how many samples we are supposed to take, how many samples we took, when samples should have been taken, and the date on which follow-up

- Samples were taken.

| - Contaminant | - Required sampling frequency | - Number of samples taken | - When samples should have been taken | - When samples were taken |
| --- | --- | --- | --- | --- |
| - Total Coliform Bacteria | - 7 samples every month | - 4 samples | - August 2014 | - September 2014 |

### Additional Information

Water Conservation: Adjust your watering schedule to the season. Water your lawn every third day and your winter lawn every fifth day. Minimize evaporation by watering during early morning hours, when temperatures are cooler and winds are lighter.