ADMINISTRATIVE AREA SAFETY INSPECTION CHECKLIST

Organization: Department: Date:

Contact: Title:

Office Phone #:

For assistance in using this checklist, contact the Base Safety Office at 269-2873/4 or 2921

| Y | N | NA | ITEM | Y | N | NA | ITEM |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1. General Safety a) Shop and storage areas clean and orderly. |  |  |  | c) If required, is appropriate foot protection worn where there is risk of foot injuries |
|  |  |  | b) Exits are Marked |  |  |  | d) PPE is stored properly, cleaned and inspected before each use |
|  |  |  | c) Trip hazards have been eliminated (cords, personal, cleaning items) |  |  |  | e) Other ____________________ |
|  |  |  | d) Are all filing cabinets doors closed and heavy machines properly mounted |  |  |  | 4. Electrical Safety a) Are all breaker panels and emergency shut-offs labeled |
|  |  |  | e) Working areas for office machines clear and organized. |  |  |  | b) Is there 36” clearance around circuit breaker panels |
|  |  |  | f) Do fire sprinklers have an 18” clearance beneath and to the sides? |  |  |  | c) Are Electrical panels are covered |
|  |  |  | g) Floor clean from spills and absorbent |  |  |  | d) Is exposed wiring and frayed/ deteriorated cords repaired/replaced promptly, free of splices and taps |
|  |  |  | h) Exits /corridors are clear, no obstruction or trip hazards. |  |  |  | e) All cord connected, electrically operated tools and equipment, effectively grounded |
|  |  |  | i) Evacuation plans available and practiced at least annually |  |  |  | f) Ensure no extension cords are used in place of permanent wiring |
|  |  |  | j) Have Unit Fire Wardens been appointed. |  |  |  | g) Are electrical cords across walk ways protected/ covered |
|  |  |  | k) Are employees restricted from eating and drinking in work areas where hazardous materials are present? |  |  |  | h) Are there GFCI’s used in wet areas (showers, sinks) |
|  |  |  | l) Ladders/stepping stools are serviceable and appropriate for the type of work |  |  |  | i) Do portable fans provided with full guards or screens having openings ½ inch or less |
|  |  |  | m) Are assigned GOV’s clean and roadworthy |  |  |  | j) Other: Space Heaters have auto shut-off feature?? |
|  |  |  | 2. Emergency/Safety Equipment a) Eyewash stations/Emergency showers inspected, clear access |  |  |  | 6. Chemical Management a) Is a current inventory available? |
|  |  |  | b) If required, is Biohazard kit available and are employees aware of its location |  |  |  | b) Are Chemicals properly stored? |
|  |  |  | c) Fire Extinguisher present/inspected monthly |  |  |  | c) Are SDSs available? |
|  |  |  | d) All emergency equipment distinctly marked |  |  |  | d) Flammables stored in NFPA approved cabinets. |
|  |  |  | e) Is an (AED) automated external defibrillator available |  |  |  | e) No smoking signs posted and observed |
|  |  |  | f) Is there trained personnel available for the use and to inspect AED’s |  |  |  | f) Are employees provided training on local HAZCOM policies and procedures |
|  |  |  | g) Other ____________________ |  |  |  | g) Are Chemicals properly labeled? |
|  |  |  | 3.Personal Protective Equipment a) If required, is Hearing protection available |  |  |  | 7. Safety Meetings a) Are monthly shop safety meetings conducted |
|  |  |  | b) If required, are approved respirators provided for regular or emergency use |  |  |  | b) Are all New Employees Safety Indoctrination completed |