SHOP/INDUSTRIAL SAFETY INSPECTION CHECKLIST

Organization: Department: Date:

Contact: Title:

Office Phone

For assistance in using this checklist, contact the Base Safety Office at 269-2873/74

| Y | N | NA | ITEM | Y | N | NA | ITEM |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1. General Safety a) Shop work and storage area clean and orderly. |  |  |  | c) Hearing protection available |
|  |  |  | b) Exits are identified. |  |  |  | d) Hard hats available. |
|  |  |  | c) Trip hazards have been eliminated (cords, hoses, etc.) |  |  |  | e) Are approved respirators provided for regular or emergency use |
|  |  |  | d) Stationary machines anchored to the floor. |  |  |  | f) Is appropriate foot protection required where there is risk of foot injuries |
|  |  |  | e) Working areas for machines clear of obstructions. |  |  |  | g) PPE is stored properly, cleaned and inspected before each use |
|  |  |  | f) Storage below 18” of sprinklers. |  |  |  | h) Fall protection harnesses and lanyards are serviceable /inspected prior to use? |
|  |  |  | g) Floor clean from spills and absorbent |  |  |  | h) Other ____________________ |
|  |  |  | h) Exits /corridors are clear, no obstruction or trip hazards. |  |  |  | 4. Electrical Safety a) All breaker panels and emergency shut-offs labeled |
|  |  |  | i) Evacuation plans available and practiced at least annually |  |  |  | b) 36” clearance around circuit breaker panels |
|  |  |  | j) Fire Warden has been appointed |  |  |  | c) Electrical panels are covered |
|  |  |  | k) Are employees restricted from eating and drinking in work areas? |  |  |  | d) Exposed wiring and frayed/ deteriorated cords repaired/replaced promptly, free of splices and taps |
|  |  |  | l) Are JHA’s present/posted |  |  |  | e) All cord connected, electrically operated tools and equipment, effectively grounded |
|  |  |  | 2. Emergency/Safety Equipment a) Showers/Eyewash inspected weekly? Is there clear access? |  |  |  | f) No extension cords used in place of permanent wiring |
|  |  |  | b) Spill kit/absorbent available |  |  |  | g) Electrical cords across walk ways protected/ covered |
|  |  |  | c) Fire Extinguisher present/inspected monthly. |  |  |  | h) GFCI’s used in wet areas (showers, sinks) |
|  |  |  | d) All emergency equipment distinctly labeled/marked |  |  |  | f) Are employees prohibited to work alone on energized lines over 600V |
|  |  |  | e) Is an (AED) automated external defibrillator available |  |  |  | g) Other: Space Heaters have auto shut-off feature?? |
|  |  |  | f) Is there trained personnel available for the use and to inspect AED’s |  |  |  | 5.Shop Equipment Safety a) Barrier guards on moving machinery parts |
|  |  |  | g) Other ____________________ |  |  |  | b) Point-of-operation and pinch points guarded |
|  |  |  | 3.Personal Protective Equipment a) Proper safety glasses/goggles/face shield available |  |  |  | c) Belts/ Pulley enclosed |
|  |  |  | b) Proper gloves available. (nitrile, leather) |  |  |  | d) Abrasive wheels given ring test |

| Y | N | NA | ITEM | Y | N | NA | ITEM |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | e)Bench grinders(1/8” tool rest, ¼” tongue guard) |  |  |  | g) Weekly inspections are conducted |
|  |  |  | f) Broken or fractured handles on hand tools replaced promptly. |  |  |  | h) Is Waste disposed of properly |
|  |  |  | g) Guards in place over belts, pulleys, chains, sprockets, and similar equipment |  |  |  | i) Is Training provided to employees |
|  |  |  | h) Lower portion of blades guarded |  |  |  | j) Other _________________ |
|  |  |  | i) Safety zones around shop equipment |  |  |  | 8. Lockout/Tagout (LOTO) a) Is machinery or equipment capable of movement, required to be de-energized, disengaged and locked out when ever required |
|  |  |  | j) Ladders are serviceable and appropriate for the type of work |  |  |  | b) Are all equipment control valve handles provided with mean for LOTO |
|  |  |  | k) Gas cylinders stored upright/secure |  |  |  | c) Are individually keyed safety locks provided to employees |
|  |  |  | l) Gas cylinders segregated (Flammables, oxidizers) while in storage. (5 ft fire wall or 20ft distance) |  |  |  | d) Does the lock-procedure require the that stored energy be released or blocked before equipment is locked out for repair |
|  |  |  | m) Fan blades guarded(1/2” opening) |  |  |  | e) Is there a sufficient amount of signs, tags and safety padlocks available |
|  |  |  | n) Anti-kickback protection on wood- working machinery |  |  |  | f) Other _______________ |
|  |  |  | p) Anti-restart on woodworking machines |  |  |  | 9. Confined Space a) Are employees subject to work in a confined space |
|  |  |  | q) On/ off switch accessible w/o reaching across point of operation |  |  |  | b) Does the space require a permit? |
|  |  |  | r) Other __________________ |  |  |  | c) Are confined spaces thoroughly emptied of any corrosive or hazardous substances before entry |
|  |  |  | 6. Chemical Management a) Current inventory available. |  |  |  | d) Is either natural or chemical ventilation provided prior to entry |
|  |  |  | b) Chemicals properly segregated |  |  |  | e) Is the confined space continuously tested or monitored during the conduct of work |
|  |  |  | c) Chemicals properly stored. |  |  |  | f) Is the standby employee properly trained and equipped to handle an emergency |
|  |  |  | d) Flammables stored in NFPA approved cabinets. |  |  |  | g) Universal Waste disposed properly |
|  |  |  | e) Chemicals properly labeled. |  |  |  | h) Is Training provided to employees |
|  |  |  | f) SDS access available. |  |  |  | i) Other _________________ |
|  |  |  | g) No smoking signs posted and observed |  |  |  | 10. Assigned Vehicles a) Are GOV’s clean and roadworthy |
|  |  |  | h) Are employees provided training on local policies and procedures |  |  |  | 11. Safety Meetings a) Monthly shop safety meetings |
|  |  |  | i) Other _________________ |  |  |  | b) New employee indoctrinations complete |
|  |  |  | 7. Hazardous Waste Disposal a) Storage area is identified |  |  |  |  |
|  |  |  | b) All waste is labeled properly |  |  |  |  |
|  |  |  | c) Waste is properly segregated |  |  |  |  |
|  |  |  | d) Secondary containment is used |  |  |  |  |
|  |  |  | e) All containers are closed/sealed |  |  |  |  |
|  |  |  | f) Proper containers are used |  |  |  |  |